## Slide 1
Post Box 580, Thimphu : Bhutan
Tel : 00975-2-325095; Fax : 00975-2-322279
Website : www.bpc.bt
Workshop on: Designing Management & Monitoring
Framework for Regulatory Compliance
by Power Transmission Utilities
(SRI LANKA, April 29, 2015)
Ujjwal Dahal

## Slide 2: OUTLINE
BHUTAN POWER SECTOR INTRODUCTION & BACKGROUND
COMPLIANCE BY ELECTRICAL UTILITY
  GRID CODE
  SYSTEM OPERATOR

## Slide 3: BHUTAN POWER SECTOR BACKGROUND
MINISTRY OF ECONOMIC AFFAIRS

## Slide 4: UNDERSTANDING THE UTILITY: BPC
100% Government owned through Druk Holding and Investments (DHI) as its Shareholder.
Licensed by Bhutan Electricity Authority (BEA) to transmit, distribute, generate (embedded) and sale of electricity in the country and wheel for export.
Licensed as the Bhutan Power System Operator (BPSO)
Licensed for ICT Facilitation.
Regulated monopoly company, registered under Companies Act of Kingdom of Bhutan as Public Ltd. company.

## Slide 5: CROSS BORDER INTERCONNECTION

## Slide 6: POWER & ENERGY SUPPLY & DEMAND
Installed Generation: 1606 MW
Firm Power: 280 MW
Peak Load: 333.4 MW (Dec 2014)
Total Energy Generation (2013): ~ 7400 MU
Total Domestic Consumption (2013): ~ 1900 MU
Energy Export to India (2013): ~ 5500 MU

## Slide 7: OVERVIEW OF POWER GENERATION, EXPORT AND CONSUMPTION

## Slide 8: PEAK LOAD GROWTH PATTERN
Chart: Year/Date
| 39421 | 39748 | 40144 | 40528 | 40869 | 41242 | 41634 | 41998
Peak Load | 157.36 | 187.05 | 237.17 | 256.9541 | 276.239 | 282.4372 | 313.94 | 333.41

## Slide 9
COMPLIANCE BY ELECTRICAL UTILITY

## Slide 10: ACT & REGULATION
BHUTAN Electricity Act 2001.
Bhutan Grid Code Regulation 2008.
Electricity Supply Rules and Regulation.
Distribution Standards, Safety Standards, TDR.
Terms and Conditions of Electricity Supply.
License Conditions to Utilities.
Smart Grid Policy, Regulation, Master Plan: On Progress

## Slide 11
In compliance to Section 39 of the Electricity Act 2001 of Bhutan :
BHUTAN POWER SYSTEM OPERATOR LICENSED ON 1ST JULY 2014.

## Slide 12: ROLE OF SYSTEM OPERATOR
As per the LICENCE, ELECTRICITY ACT, and the GRID CODE following are the functions of a System Operator to be adhered and compiled.
ALSO in bringing the UTILITIES into power system operation discipline:
co-ordinate the power supply system to obtain instantaneous balance between generation and consumption of electricity;
be responsible for dispatching generation installations,
co-ordinate the transmission outages;
monitor the import and export of electricity;
prepare forecasts of load and generation requirements;

## Slide 13: UTILITIES AND THE GRID CODE
ROLES AND RESPONSIBILITIES OF STAKEHOLDERS
PLANNING CODE
CONNECTION CONDITIONS
OPERATIONS AND OPERATIONAL PLANNING
SCHEDULING AND DISPATCH
MANAGEMENT OF GRID CODE REGULATION
International Connectivity and Operation Procedures !!

## Slide 14: SCHEDULING AND DISPATCH

## Slide 15
GRID OPERATION WITHOUT SYSTEM OPERATOR
BHP
CHP
THP
KHP
BHUTAN INDIA:
SUBSTATIONS/ERLDC/NLDC
TRANSMISSION SUBSTATIONS
BHUTAN: BPC and DGPC

## Slide 16
GRID OPERATION WITH SYSTEM OPERATOR
BHP
CHP
THP
KHP
BHUTAN:
SYSTEM OPERATOR/NLDC
INDIA SUBSTATIONS/ERLDC/NLDC
TRANSMISSION SUBSTATIONS
BHUTAN: BPC and DGPC

## Slide 17: NATIONAL LOAD DISPATCH CENTER (THIMPHU)

## Slide 18
TASHI DELEK !!!
THANK YOU