## Slide 1: ENERGY SECTOR OF MALDIVES
Presented by: Maldives Energy Authority

## Slide 2: National Profile
Population: Approximately 400000
Land Area:300km2
GDP:1900Million USD
No. of Islands:1193
Inhabitant islands:109
Resorts:105
Energy/GDP: 111 toe (Tons of oil Equivalent)/Million US$

## Slide 3: Maldives Energy Authority (MEA)
The Maldives Energy Authority (MEA) is an independent regulatory organization affiliated with the Ministry of Environment and Energy
Operates under the guidance of a governing board
Mandated to regulate the energy sector through the implementation of the relevant regulations
MEA is delegated authority under the public utilities law 4/96 and by presidential decrees

## Slide 4: The electricity sector of Maldives
Maldives is composed of geographically separate islands.
Currently all islands have their own power systems
Each island is effectively a mini-grid with a diesel based generation system
Very few islands have the PV systems feeding electricity directly into the grid
No interconnection between the islands exist as of today.
The electricity service is provided by utilities or managed by themselves in the islands

## Slide 5: Electricity Service Providers
Service providers can be generalised into the following
  Inhabited islands in the Male’ (capital) region provided by State Electric Company Ltd.
  Outer Islands provided by FENAKA corporation (majority) and Island Community/Council
  Resorts provided by themselves as self producers (normal utility tariff does not apply)

## Slide 6: Electricity Service Providers
All public utility companies (FENAKA and STELCO) are owned by Ministry of Finance but adheres to the regulations implemented by MEA.
All power systems and electrical installations must comply with the regulations of Maldives Energy Authority.
Licensed engineers and consultants are only allowed to carry out works related to power. This includes design, installation and commissioning of power systems

## Slide 7: Total Installed Capacity 240 MW
Greater Male Region 62MW
RESORTS 120MW
Other Island 55MW

## Slide 8: Total installed Capacity of Solar PV system in Maldives
Installed Capacity of Solar PV system (2014)
-Government= 1.8MW
-Private= 2.4MW
Total Installed Capacity Of Solar PV System (2014)= 4.2MW

## Slide 9: MEA : Main tasks that are undertaken currently
Licensing electricians and engineers
Approval of power systems for islands
Approval of tariff for electricity services providers in inhabited islands
Endorsement RE products for the purpose of duty exemption through customs

## Slide 10: Enhancing the existing regulatory framework – The progress
Development of new regulations which are complementary to the existing ones.
Increasing human resource capacity of MEA and utilities
Amendment had been made in the Import/Export law during 2012 to allow for exemption of duty for Renewable Energy related products.
Further amendment are to be proposed to incorporate duty exemption for Energy Efficient equipment

## Slide 11: Why a broader regulatory framework?
Updating required to improve the safety, quality and reliability of the power service industry
Improving the economic operation of power systems
Protection for investors, service provider and consumers
Incorporating support for renewable energy and energy efficiency as per energy policy
Complementary to the SREP to provide an enabling environment for power sector investments

## Slide 12: List of regulations formulated under the regulatory framework development (Through the Technical Assistance of World Bank/ADB)
Licensing/Registration
  Licensing for Electricians and Engineers Regulations
  Licensing Fee Regulation
  Regulations for Registration/ Accreditation of Energy Auditors
Utility Service
  Investment Approval Regulations
  Draft Power Purchase Agreement (PPA)
  Licensing Electricity Operators Regulations
Technical Regulations
  Regulation for Safety, Inspection and Testing of Electrical Installations
  Installation Standards
  Service Provider’s Code
  Metering Scheme
Note: All draft regulations is available at our website (www.energy.gov.mv)

## Slide 13: Overview of key regulations
Licensing Operators Regulations
  Details the rules and requirements for licensing operators who deals with electricity production or transmission or distribution (or any combination of these).
  Licensing Operators are categorized in to 3:-
    Service providers License
    Independent power producers License
    Transmission License
  All renewable power producers are also required to obtain operator’s license under this regulation
  Independent power producers do not have the right to distribute electricity to consumers.
  IPPs can distribute electricity to the registered Service Provider through a Power Purchasing Agreement

## Slide 14: Overview of key regulations
Utility Investment Approval Regulations
  Establish rules, procedures and guidelines on submission, review and approval of investment proposals related to generation, and distribution.
  The investment plan must include:
    Scope of the investment plan
    Objectives of the investment plan
    All the necessary documents, reports, drawings and feasibility study related to the investment plan submitted
    the extent to which the investment plan comply with the Methodology and evaluation criteria proposed in the regulation

## Slide 15: Overview of key regulations
  These regulations shall be applicable to electricity operators covering:
    Generation Licensees including IPPs
    Distribution Licensees
    Transmission Licensees
  Subject to a review and evaluation process which takes into account
    The necessity of investment, taking account into demand requirements, technical justification, urgency, and prudency
    Statutory requirements
    Safety requirements
    Cost-benefit analysis

## Slide 16: Overview of key regulations
Power Purchase Agreement (PPA)
  Falls under the “Investment Approval Guidelines” and serve as a template for PPAs.
  Applicable to any independent power producer who wish to sell electricity to the grid, which can be done through a PPA between the seller and the buyer.
  (Sample PPA will be made available on www.mea.gov.mv)

## Slide 17: Overview of key regulations
Installation standards
  Sets the technical requirements and standards for the design and installation of electrical assets
  Installation Standards addresses the following aspects:
    Standards for LV Electrical Installations (Outdoor and Public Areas)
    Standards for LV Electrical Installations (In-House Areas)
    Standards for MV Installations (Outdoor and Public Areas and Private Areas)
    Standards for Generating Stations
    Verification
  Also takes into account the interconnection to the grid for distributed generators including renewables

## Slide 18: Overview of key regulations
Service Provider’s Code
  This Service Providers Code will addresses the following aspects:
    Requirements for Service Provider License Issuance
    Requirements for Generating Stations
    Distribution Network Operation and Maintenance
    Distribution Network Planning
    Connection to the Distribution Network
    Commercial Aspects
    Disputes

## Slide 19: Tariff Rate
RE generators can produce and sell power to the grid under PPAs
All producers are required to obtain operator licensing (for generation) and also approval from MEA for investment
Tariff rate are different depending on the region it is installed

## Slide 20: Concluding Remarks
The new regulatory framework is a comprehensive set of documents addresses the main aspects of the electricity sector

## Slide 21: THANK YOU
For questions and comments you can contact us by telephone at (+960) 3019100 or email to secretariat@energy.gov.mv
For further information and periodic updates please visit our website at www.energy.gov.mv